## Slide 1: 🫁 Clinical Breath Analysis Results
Portable Respiratory Assessment System
Analysis Date: 2025-10-13 12:19:44

## Slide 2: 📊 Analysis Summary
Key Metrics:
• Total Samples: 60,000
• Test Duration: 60.0 seconds
• Breathing Rate: 21.0 breaths/min
Tidal Volume Analysis:
• Measured Average: 422.5 mL
• Expected for RR=21.0: 422.5 mL
• Accuracy: 1.00x expected (✅ Good)
Lung Function:
• FVC: 3.87 L
• FEV1: 2.91 L
• FEV1/FVC Ratio: 75.0%
• Average Exhalation Volume: 338.00 mL
• Shannon Entropy: 4.959
Clinical Assessment:
• Signal Quality: ⚠️ Low variation
• Respiratory Status: ⚠️ Abnormal

## Slide 3: ⚕️ Respiratory Rate Assessment
Parameter | Value/Assessment
Current Respiratory Rate | 21.0 breaths/min
Clinical Status | ⚠️ ABNORMAL - Outside Normal Range
Risk Level | Moderate
Recommendation | Clinical evaluation recommended
Normal Range | 12-20 breaths/min

## Slide 4: 🫁 Tidal Volume Analysis
Parameter | Value/Assessment
Measured Tidal Volume | 422.5 mL
Expected for RR | 422.5 mL (for 21.0 bpm)
Accuracy Ratio | 1.00x expected
Assessment | Matches Expected RR-TV Relationship
Clinical Concern | ✅ None

## Slide 5: 🔬 Lung Function Metrics
Parameter | Value/Assessment
FVC (Forced Vital Capacity) | 3.87 L
FEV1 (1-sec volume) | 2.91 L
FEV1/FVC Ratio | 75.0%
Average Exhalation Volume | 338.00 mL
Lung Function Status | ✅ Normal
Normal FEV1/FVC | ≥ 70%

## Slide 6: 📊 Signal Quality Assessment
Parameter | Value/Assessment
Power Variation (CV) | 0.0%
Shannon Entropy | 4.959
Signal Quality | ⚠️ Low signal variation

## Slide 7: 📊 Signal Processing: Raw vs Filtered Signal

## Slide 8: 📊 Signal Processing: Custom Peak Detection

## Slide 9: 📊 Signal Processing: Frequency Domain Analysis

## Slide 10: 📊 Breath Analysis: Clinical Paper Analysis

## Slide 11: 📊 Breath Analysis: Individual Breathing Cycles

## Slide 12: 📊 Breath Analysis: Comprehensive Quality Metrics

## Slide 13: 📊 Entropy Analysis: Rolling Shannon Entropy

## Slide 14: 📊 Entropy Analysis: Rolling Entropy

## Slide 15: 📊 Entropy Analysis: Highlighted High Entropy

## Slide 16: 📊 PCA & Clustering: PCA Components Over Time

## Slide 17: 📊 PCA & Clustering: PC1 vs PC2 Scatter

## Slide 18: 📊 PCA & Clustering: K-Means on PCA

## Slide 19: 📊 PCA & Clustering: ML Feature Importance

## Slide 20: 📋 Clinical Recommendations
Based on Analysis Results:
Immediate Actions:
• Clinical evaluation recommended
• Review spirometry results
• Monitor trend over time
Follow-up:
• Medical evaluation within 24-48 hours
• Repeat assessment in 1 week
Notes:
• This portable breath analyzer provides preliminary assessment
• Clinical correlation and standard spirometry recommended for diagnosis
• Results should be interpreted by qualified healthcare professional